## Syringe_Pump
Syringe Pump Build Supply List
Item | Size/Specs | Supplier | Supplier PN | Cost Per | Count Total | Total | Link | Notes
Raw Stock
Aluminum T-slot Extrusion | 1 x 1 x 12 inch | 8020 | 1010 | 7.23 | 1 | 7.23 | https://8020.net/1010.html | T-Slotted Framing (#1)
Aluminum Bar | 3 x 5 x 1 inch | [6 empty] | Syringe Barrel Holder (#3)
Aluminum Rod | 2.5 dia x 1.5 inch long | [6 empty] | 3mL Syringe Adapter (#4)
Aluminum Bar | 3 x 5 x 1 inch | [6 empty] | Syringe Plunger Mount (#5)
Aluminum Bar | 3 x 2.5 x 1 inch | [6 empty] | Syringe Depressor Clamp (#6)
Aluminum Bar | 3 x 3 x 1 inch | [6 empty] | Syringe Bearing End (#10)
Aluminum Bar | 0.5 x 0.5 x 10 inch | [6 empty] | Cross Support (#12)
Parts
Single Mount Unibearing | 10 Series Short | 8020 | 6730 | 50.91 | 1 | 50.91 | https://8020.net/6730.html | Linear Bearing 8020 (#2)
3mL Syringe | Luer Lock Connection | McMaster | 7510A651 | 7.62 | 1 | 7.62 | https://www.mcmaster.com/7510A651/ | Pack of 10
Limit Switches |  | Amazon |  | 5.98 | 1 | 5.98 | https://www.amazon.com/HiLetgo-KW12-3-Roller-Switch-Normally/dp/B07X142VGC | Pack of 100
Shaft Coupling 1/4 inch to 5mm | 1/4 inch to 5mm | Amazon |  | 10.69 | 1 | 10.69 | https://www.amazon.com/Xnrtop-Coupling-Diameter-Aluminum-Connector/dp/B07YFMF2Z6 | Pack of 2
Stepper Motor | NEMA 17 | Amazon |  | 13.95 | 1 | 13.95 | https://www.amazon.com/STEPPERONLINE-Stepper-Bipolar-Connector-compatible/dp/B00PNEQKC0
Ball Bearing | R4 | McMaster Carr | 57155K305 | 6.42 | 2 | 12.84 | https://www.mcmaster.com/57155K305/
Hardware
6-32 x Socket Head Screw | 1/2 inch long, Stainless | McMaster Carr | 92196A148 | 8.72 | 1 | 8.72 | https://www.mcmaster.com/92196A148/ | Pack of 100
4-40 Socket Head Screw | 3/8 inch long, Stainless | McMaster Carr | 92196A108 | 6.3 | 1 | 6.3 | https://www.mcmaster.com/92196A108/ | Pack of 100
10-32 Socket Head Screw | 3/4 inch long, Stainless | McMaster Carr | 92196A272 | 19.56 | 1 | 19.56 | https://www.mcmaster.com/92196A272/ | Pack of 100
10-32 Socket Head Screw | 1/2 inch long, Stainless | McMaster Carr | 92196A269 | 15.47 | 1 | 15.47 | https://www.mcmaster.com/92196A269/ | Pack of 100
10-32 T Nut | Stainless | McMaster Carr | 94581A128 | 14.32 | 1 | 14.32 | https://www.mcmaster.com/94581A128/ | Pack of 10
1/4-20 Socket Head Screw | 3/4 inch long, Stainless | McMaster Carr | 92196A540 | 23.83 | 1 | 23.83 | https://www.mcmaster.com/92196A540/ | Pack of 50
1/4-20 Socket Head Screw | 3 inch long, Stainless | McMaster Carr | 92196A553 | 15.31 | 1 | 15.31 | https://www.mcmaster.com/92196A553/ | Pack of 10
1/4-20 Threaded Rod | 1 ft long, Stainless | McMaster Carr | 98804A487 | 2.31 | 1 | 2.31 | https://www.mcmaster.com/98804A487/
1/4-20 Nut |  | McMaster Carr | 92673A113 | 3.55 | 1 | 3.55 | https://www.mcmaster.com/92673A113/ | Pack of 50
M3 x 0.35 Socket Head Screw | 16 mm long, Stainless | McMaster Carr | 90751A114 | 15.73 | 1 | 15.73 | https://www.mcmaster.com/90751A114/ | Pack of 100
[5 empty] | TOTAL | 234.32

## Electonics_Controller
Electronics Control Box Supply List
Item | Size/Specs | Supplier | Supplier PN | Cost per | Count total | Total | Link | Notes
Boards/Sensors
Arduino Zero |  | Amazon | ABX00003 | 49.5 | 1 | 49.5 | https://www.amazon.com/Arduino-Zero-ABX00003/dp/B09CMCXVV4
SD Card Shield |  | Adafruit | 1141 | 13.95 | 1 | 13.95 | https://www.adafruit.com/product/1141
Screw Shield R3 |  | Adafruit | 196 | 14.95 | 1 | 14.95 | https://www.adafruit.com/product/196
TinyG Controller v8 |  | Adafruit | 1749 | 165 | 1 | 165 | https://www.adafruit.com/product/1749
Voltage Adapter | AC110 to 24VDC 4A | Amazon |  | 8.46 | 1 | 8.46 | https://www.amazon.com/Switch-Supply-Module-Isolated-Output/dp/B07GWCPTQB
Pressure Sensor | 4-20mA, 0-15psig | Omega | PX309-015GI | 331.43 | 1 | 331.43 | https://www.omega.com/en-us/pressure-measurement/pressure-transducers/px309/p/PX309-015GI
Components/Hardware
Screw Terminal | 5mm pitch, 2 pos | Mouser | 490-TB002-500-02BE | 0.65 | 1 | 0.65 | https://www.mouser.com/ProductDetail/CUI-Devices/TB002-500-02BE?qs=vLWxofP3U2x9716kcgva%2Fw%3D%3D
Terminal Block | 20A, 300VAC, 4 pos | McMaster Carr | 7527K44 | 2.54 | 1 | 2.54 | https://www.mcmaster.com/7527K44/
Fuse Holder | 6 x 32mm fuse | Mouser | 504-BK2-S-4202-1X-R | 1.95 | 1 | 1.95 | https://www.mouser.com/ProductDetail/Bussmann-Eaton/BK2-S-4202-1X-R?qs=DRkmTr78QASifKBhsRdWiQ%3D%3D
Din 5 pin bulkhead |  | Amazon |  | 6.99 | 1 | 6.99 | https://www.amazon.com/CESS-Female-Socket-Connector-Soldering/dp/B01GBT9RC0 | Pack of 4
USB Bulkhead |  | Amazon |  | 13.89 | 1 | 13.89 | https://www.amazon.com/Anmbest-Electrical-Waterproof-Connector-Industrial/dp/B07RPW5XGB/ | Pack of 2
AC Power Socket Male | 10A, 250V | Amazon |  | 7.99 | 1 | 7.99 | https://www.amazon.com/button-Adapter-Connector-Socket-MXRS/dp/B082ZFRV1B | Pack of 3
Circuit Components
Resistor | 390 ohm, 1/4 watt | Mouser | 708-RNMF14FAD390R | 0.01 | 1 | 0.01 | https://www.mouser.com/ProductDetail/SEI-Stackpole/RNMF14FAD390R?qs=sGAEpiMZZMtlubZbdhIBIAPvukx9%2FY0xv%252BGfu8WKpMU%3D
Tantalum Capacitor | 1 uF | Mouser | 581-TAP105M050CRW | 0.85 | 1 | 0.85 | https://www.mouser.com/ProductDetail/AVX/TAP105M050CRW/?qs=D60Q9NgkslkPfEe0TVgP8Q%3D%3D
Tantalum Capacitor | 0.1 uF | Mouser | 80-T356A104K35AT | 1.31 | 1 | 1.31 | https://www.mouser.com/ProductDetail/KEMET/T356A104K035AT?qs=sGAEpiMZZMsh%252B1woXyUXj6qm7phGd0O5w2mlt5bQZCk%3D
Zener Diode | 3.6v, 5.1watt | Amazon |  | 4.99 | 1 | 4.99 | https://www.amazon.com/1N4733A-1N4733-Silicon-Planar-DO-204AL/dp/B07WK46MK4?th=1 | Pack of 20
[5 empty] | TOTAL | 624.46

## Assembly
Bubble Injector Assembly Supply List
Item | Size/Specs | Supplier | Supplier PN | Cost per | Count total | Total | Link | Notes
Air Injection System
14G Dispensing Needle | 2 inch long, Point Style 5 (Non-Coring), Luer Lock | Hamilton | 7746-15 | 133 | 1 | 133 | https://www.hamiltoncompany.com/laboratory-products/needles/7746-15 | Pack of 6
22G Dispensing Needle | 2 inch long, Point Style 5 (Non-Coring), Luer Lock | Hamilton | 7746-06 | 133 | 1 | 133 | https://www.hamiltoncompany.com/laboratory-products/needles/7746-06 | Pack of 6
1/4" Tubing | Clear, 5/32" ID | McMaster | 5648K69 | 0.65 | 2 | 1.3 | https://www.mcmaster.com/5648K69-5648K256/ | Per Foot
Stop Valve | Male x Female, Luer Lock | McMaster | 7033T24 | 2.66 | 1 | 2.66 | https://www.mcmaster.com/7033T24/
Threaded Tube Coupling | 10-32 x Male Adapter, Luer Lock | McMaster | 51525K428 | 6.72 | 1 | 6.72 | https://www.mcmaster.com/51525K428/ | Pack of 10
Female Tube Coupling | 5/32" Tube ID x Female Luer Lock | McMaster | 51525K214 | 5.09 | 1 | 5.09 | https://www.mcmaster.com/51525K214/ | Pack of 10
Male Tube Coupling | 5/32" Tube ID x Male Luer Lock | McMaster | 51525K124 | 6.26 | 1 | 6.26 | https://www.mcmaster.com/51525K124/ | Pack of 10
Assembly & Testing Materials
Multi-Axis Manual Micromanipulator | 3mm - 12.7mm Tool Clamp | [5 empty] | https://www.wpi-europe.com/products/micromanipulators/manual-manipulators/m325.aspx | Used part unavailable, substitute part linked
10mm Steel Rod | 1-1/2 feet long | McMaster | 1272T41 | 26.92 | 1 | 26.92 | https://www.mcmaster.com/1272T41-1272T412/ | Micromanipulator mount
Aluminum Tubing | 1/4" OD, 0.02" Wall Thickness | McMaster | 89965K341 | 7.16 | 1 | 7.16 | https://www.mcmaster.com/89965K341/ | Per Foot
1/4" Acrylic Stock | 12 x 12 x 0.25 inch, Clear | McMaster | 8560K354 | 18.38 | 2 | 36.76 | https://www.mcmaster.com/8560K354/ | Platform
1/4" Aluminum Unthreaded Spacer | 1/4" Screw Size, 1-1/2 inch long | McMaster | 92510A771 | 4.25 | 4 | 17 | https://www.mcmaster.com/92510A771/ | Platform Spacers
1/4-20 Hex Head Screw | 2-1/2 inch long | McMaster | 92240A552 | 7.74 | 1 | 7.74 | https://www.mcmaster.com/92240A552/ | Pack of 25
6" Plastic Dish | 0.75 inch depth, Clear | Amazon |  | 9.39 | 1 | 9.39 | https://www.amazon.com/Plastic-Petri-Dish-Lid-Polypropylene/dp/B08X4VD3XY
4" (10cm) Acrylic Tube | 12 inch long, Clear | Amazon |  | 7.86 | 1 | 7.86 | https://www.amazon.com/FixtureDisplays-Acrylic-Diameter-15139-12-1PK-NF/dp/B086KT4F8N | Testing Core
[5 empty] | TOTAL | 400.86